## Sheet1
Notes and Exclusions: Standard Commercial Generator
1. All prices quoted are standard base genset models with radiator.
Additional options available to meet AHJ or regional specifications.
2. All KW ratings indicated in price sheet are standby ratings.
3. Additional Cummins factory features and options will match target priced for base model.
4. Startup will be priced separately based on location and project specific requirements.
5. Any initial onsite emission testing that may be needed is not included in the above pricing.
6. Freight is included for Cummins product in the contiguous 48.
However, additional freight charges may apply for 3rd party items.
7. Cummins is committed to introducing new models. Contact your National Account Executive
8. All products have been quoted at standard industry voltages (120V/240V) single phase.
Additional voltages are available.
9. For Canadian customers - Please note all prices are listed in US dollars.
10. Please refer to Bank of Canada posted daily rates to calculate exchange rate to Canadian Dollar prices.
11. Open market pricing will apply for non-cummins content
12. Prices based on ship date
Standard Commercial Generators
Model # | KW | FUEL | Emission | PHASE | Member Price
C10D6 | 10KW | DIESEL | EPA Tier 4i | 1 or 3 | 11386.3
C15D6 | 15KW | DIESEL | EPA Tier 4i | 1 or 3 | 12098.98
C20D6 | 20KW | DIESEL | EPA Tier 4i | 1 or 3 | 14855.83
C25D6 | 25KW | DIESEL | EPA Tier 3 | 1 or 3 | 16554.55
C30D6 | 30KW | DIESEL | EPA Tier 3 | 1 or 3 | 14336.83
C35D6 | 35KW | DIESEL | EPA Tier 3 | 1 or 3 | 14813.28
C40D6 | 40KW | DIESEL | EPA Tier 3 | 1 or 3 | 14615.11
C50D6 | 50KW | DIESEL | EPA Tier 3 | 1 or 3 | 18171.5
C60D6 | 50KW | DIESEL | EPA Tier 3 | 1 or 3 | 18341.68
C50D6C | 50KW | DIESEL | EPA Tier 3 | 1 or 3 | 17879.5031
C60D6C | 60KW | DIESEL | EPA Tier 3 | 1 or 3 | 18819.8758
C80D6C | 80KW | DIESEL | EPA Tier 3 | 1 or 3 | 21495.6522
C100D6C | 100KW | DIESEL | EPA Tier 3 | 1 or 3 | 22775.1553
C125D6C | 125KW | DIESEL | EPA Tier 3 | 1 or 3 | 24310.559
C125D6D | 125KW | DIESEL | EPA Tier 3 | 1 or 3 | 23557.764
C150D6D | 150KW | DIESEL | EPA Tier 3 | 1 or 3 | 28052.1739
C175D6D | 175KW | DIESEL | EPA Tier 3 | 1 or 3 | 30997.5155
C200D6D | 200KW | DIESEL | EPA Tier 3 | 1 or 3 | 31714.2857
230DSHAD | 200KW | DIESEL | EPA Tier 3 | 1 or 3 | 40715.07
250DQDAA | 250KW | DIESEL | EPA Tier 3 | 3 | 45794.7
275DQDAB | 275KW | DIESEL | EPA Tier 3 | 3 | 50240.97
300DQDAC | 300KW | DIESEL | EPA Tier 3 | 3 | 58071.65
400DFEJ | 400KW | DIESEL | EPA Tier 2 | 2 | 84090.89
500DFEK | 500KW | DIESEL | EPA Tier 2 | 2 | 73514.29
600DQCA | 600KW | DIESEL | EPA Tier 2 | 2 | 117045.96
750DQCB | 750KW | DIESEL | EPA Tier 2 | 3 | 124069.57
800DQCC | 800KW | DIESEL | EPA Tier 2 | 3 | 133547.83
900DQFAC | 900KW | DIESEL | EPA Tier 2 | 3 | 194215.16
1000DQFAD | 1000KW | DIESEL | EPA Tier 2 | 3 | 188731.3
The units below require applicaton, code, and 3rd party considerations.
Please contact National Account Mgr for pricing and delivery
C1250D6E | 1250kW | DIESEL | EPA Tier 2 | 3 | 246439.9752
C1500D6E | 1500kW | DIESEL | EPA Tier 2 | 3 | 279018.7826
1750 DQKAA | 1750KW | DIESEL | EPA Tier 2 | 3 | 372666.5217
1750DQKAD | 1750KW | DIESEL | EPA Tier 2 | 3 | 450180
2000 DQKAB | 2000KW | DIESEL | EPA Tier 2 | 3 | 432322.1739
2000DQKAE | 2000KW | DIESEL | EPA Tier 2 | 3 | 445160.8696
2250 DQKAF | 2250KW | DIESEL | EPA Tier 2 | 3 | 545145.6522
2500 DQKAN | 2500KW | DIESEL | EPA Tier 2 | 3 | 642894.7826
2500DQLE | 2500KW | DIESEL | EPA Tier 2 | 3 | 737016.5217
2750DQLF | 2750KW | DIESEL | EPA Tier 2 | 3 | 812049.1304
C3000 D6E | 3000kKW | DIESEL | EPA Tier 2 | 3 | 979372.1739
C3250 D6E | 3250KW | DIESEL | EPA Tier 2 | 3 | 1042740
Stby Gas
C45N6 | 45KW | NG/ Propane | EPA | 1 or 3 | 15244.7205
C50N6 | 50KW | NG/ Propane | EPA | 1 or 3 | 15997.5155
C60N6 | 60KW | NG/ Propane | EPA | 1 or 3 | 17690.6832
C70N6 | 70KW | NG/ Propane | EPA | 1 or 3 | 19761.4907
C80N6 | 80KW | NG/ Propane | EPA | 1 or 3 | 20780.1242
C100N6 | 100KW | NG/ Propane | EPA | 1 or 3 | 22291.9255
C125N6 | 125kw | NG/ Propane | EPA | 1 or 3 | 30186.0373
C150N6 | 150kw | NG/ Propane | EPA | 1 or 3 | 32143.677
C175N6B | 175KW | NG | EPA | 1 or 3 | 43722.9814
C200N6B | 200KW | NG | EPA | 1 or 3 | 53043.4783
C250N6 | 250KW | NG | EPA | 3
C300N6 | 300KW | NG | EPA | 3
C350N6 | 350KW | NG | EPA | 3
C400N6 | 400KW | NG | EPA | 3
C450N6 | 450KW | NG | EPA | 3
C500N6B | 500KW | NG | EPA | 3
C550N6 | 550KW | NG | EPA | 3
C600N6 | 600KW | NG | EPA | 3
C650N6 | 650KW | NG | EPA | 3
C750N6 | 750KW | NG | EPA | 3
C1000N6B | 1000KW | NG | EPA | 3
C1300N6 | 1300KW | NG | EPA | 3
Additional NG units available upon request. Contact National Account Mgr
for pricing and delivery
Rental Pwr
C70D2RE | 70KW | Diesel | EPA T4F | 3 | 77970.19
C100D2RE | 100KW | Diesel | EPA T4F | 3 | 88978.01
C150D2RE | 150KW | Diesel | EPA T4F | 3 | 107823.97
C200D2RE | 200KW | Diesel | EPA T4F | 3 | 127570.56
C275D2RE | 275KW | Diesel | EPA T4F | 3 | 167436.4
C500D6RE | 500KW | Diesel | EPA T4F | 3 | 324818.51
C1000D6RE | 1000KW | Diesel | EPA T4F | 3 | 715690.06
Due to the high 3rd party content and long lead time - Please contact
National Account Mgr for for Sourcewell Pricing and delivery
Automatic Transfer Switches (ATS)
Notes and Exclusions
All prices quoted above are standard base models; 3pole with NEMA1 cabinet.
options available to include NEMA3R, 4 pole, closed transfer mode, etc. for additional pricing.
Startup will be priced separately based on location and project specific requirements.
Freight is FOB jobsite, freight allowed in the contiguous 48.
Model # | Amp | Enclosure | Listing | Pole
OTECA | 40 | Nema 1 | UL-1008 | 3 | 2157.764
OTECA | 70 | Nema 1 | UL-1008 | 3 | 2213.6646
OTECA | 125 | Nema 1 | UL-1008 | 3 | 2270.8075
OTECB | 150 | Nema 1 | UL-1008 | 3 | 2469.5652
OTECB | 225 | Nema 1 | UL-1008 | 3 | 2899.3789
OTECB | 260 | Nema 1 | UL-1008 | 3 | 3103.1056
OTECC | 300 | Nema 1 | UL-1008 | 3 | 3434.7826
OTECC | 400 | Nema 1 | UL-1008 | 3 | 3667.0807
OTECC | 600 | Nema 1 | UL-1008 | 3 | 6474.5342
OTECD | 800 | Nema 1 | UL-1008 | 3 | 7573.913
OTECD | 1000 | Nema 1 | UL-1008 | 3 | 11747.8261
OTECE | 1200 | Nema 1 | UL-1008 | 3 | 15217.3913
OTEC SE A | 40 | Nema 1 | UL-1008 | 3 | 3875.7764
OTEC SE A | 70 | Nema 1 | UL-1008 | 3 | 3962.7329
OTEC SE A | 100 | Nema 1 | UL-1008 | 3 | 4028.5714
OTEC SE A | 125 | Nema 1 | UL-1008 | 3 | 4325.4658
OTEC SE B | 150 | Nema 1 | UL-1008 | 3 | 5381.3665
OTEC SE B | 200 | Nema 1 | UL-1008 | 3 | 5754.0373
OTEC SE B | 225 | Nema 1 | UL-1008 | 3 | 6126.7081
OTEC SE B | 250 | Nema 1 | UL-1008 | 3 | 6212.4224
OTEC SE C | 300 | Nema 1 | UL-1008 | 3 | 7885.7143
OTEC SE C | 400 | Nema 1 | UL-1008 | 3 | 8111.8012
OTEC SE C | 600 | Nema 1 | UL-1008 | 3 | 10730.4348
OTEC SE D | 800 | Nema 1 | UL-1008 | 3 | 17814.9068
OTEC SE D | 1000 | Nema 1 | UL-1008 | 3 | 21732.9193
High Interrupt ATS
X-Series
CXSB | 40 | Nema 1 | UL-1008 | 3 | 5991.3043
CXSB | 70 | Nema 1 | UL-1008 | 3 | 6171.4286
CXSB | 125 | Nema 1 | UL-1008 | 3 | 6300.6211
CXSB | 150 | Nema 1 | UL-1008 | 3 | 6402.4845
CXSB | 225 | Nema 1 | UL-1008 | 3 | 7298.1366
CXSB | 260 | Nema 1 | UL-1008 | 3 | 7736.646
CXSB | 300 | Nema 1 | UL-1008 | 3 | 8791.3043
CXSB | 400 | Nema 1 | UL-1008 | 3 | 9149.0683
CXTC | 150 | Nema 1 | UL-1008 | 3 | 8327.9503
CXTC | 225 | Nema 1 | UL-1008 | 3 | 9222.3602
CXTC | 260 | Nema 1 | UL-1008 | 3 | 9658.3851
CXTC | 300 | Nema 1 | UL-1008 | 3 | 10715.528
CXTC | 400 | Nema 1 | UL-1008 | 3 | 11525.4658
CXTC | 600 | Nema 1 | UL-1008 | 3 | 12699.3789
CXTD | 600 | Nema 1 | UL-1008 | 3 | 12098.1366
CXTD | 800 | Nema 1 | UL-1008 | 3 | 13432.2981
CXRE | 1000 | Nema 1 | UL-1008 | 3 | 20203.7267
CXRE | 1200 | Nema 1 | UL-1008 | 3 | 22412.4224
CXRF | 1200 | Nema 1 | UL-1008 | 3 | 22556.5217
CXRF | 1600 | Nema 1 | UL-1008 | 3 | 25062.1118
CXRG | 1600 | Nema 1 | UL-1008 | 3 | 26192.5466
CXRG | 2000 | Nema 1 | UL-1008 | 3 | 28947.8261
CXRH | 2600 | Nema 1 | UL-1008 | 3 | 38357.764
CXRH | 3000 | Nema 1 | UL-1008 | 3 | 42621.118
Service Entrance Rated ATS
CXSB SE | 40 | Nema 1 | UL-1008 | 3 | 6442.236
CXSB SE | 70 | Nema 1 | UL-1008 | 3 | 8614.9068
CXSB SE | 125 | Nema 1 | UL-1008 | 3 | 8980.1242
CXSB SE | 150 | Nema 1 | UL-1008 | 3 | 9960.2484
CXSB SE | 225 | Nema 1 | UL-1008 | 3 | 12219.8758
CXSB SE | 260 | Nema 1 | UL-1008 | 3 | 12759.0062
CXSB SE | 300 | Nema 1 | UL-1008 | 3 | 13496.8944
CXSB SE | 400 | Nema 1 | UL-1008 | 3 | 14910.559
CXTC SE | 150 | Nema 1 | UL-1008 | 3 | 11414.9068
CXTC SE | 225 | Nema 1 | UL-1008 | 3 | 12310.559
CXTC SE | 260 | Nema 1 | UL-1008 | 3 | 12745.3416
CXTC SE | 300 | Nema 1 | UL-1008 | 3 | 13804.9689
CXTC SE | 400 | Nema 1 | UL-1008 | 3 | 14613.6646
CXTC SE | 600 | Nema 1 | UL-1008 | 3 | 15788.8199
CXTD SE | 600 | Nema 1 | UL-1008 | 3 | 17238.5093
CXTD SE | 800 | Nema 1 | UL-1008 | 3 | 18575.1553
CXRE SE | 1000 | Nema 1 | UL-1008 | 3 | 27627.3292
CXRE SE | 1200 | Nema 1 | UL-1008 | 3 | 30698.1366
CXRF SE | 1200 | Nema 1 | UL-1008 | 3 | 31109.3168
CXRF SE | 1600 | Nema 1 | UL-1008 | 3 | 34563.9752
CXRG SE | 1600 | Nema 1 | UL-1008 | 3 | 34591.3043
CXRG SE | 2000 | Nema 1 | UL-1008 | 3 | 38433.5404
Bypass ATS
BTPCB | 150 | Nema 1 | UL-1008 | 3 | 13453.4161
BTPCB | 225 | Nema 1 | UL-1008 | 3 | 14040.9938
BTPCB | 260 | Nema 1 | UL-1008 | 3 | 14745.3416
BTPCC | 300 | Nema 1 | UL-1008 | 3 | 16904.3478
BTPCC | 400 | Nema 1 | UL-1008 | 3 | 20149.0683
BTPCC | 600 | Nema 1 | UL-1008 | 3 | 24976.3975
BTPCD | 800 | Nema 1 | UL-1008 | 3 | 28126.7081
BTPCD | 1000 | Nema 1 | UL-1008 | 3 | 35934.1615
CBRF | 1200 | Nema 1 | UL-1008 | 3 | 66944.0994
CBRF | 1600 | Nema 1 | UL-1008 | 3 | 70588.8199
CBRG | 1600 | Nema 1 | UL-1008 | 3 | 74762.7329
CBRG | 2000 | Nema 1 | UL-1008 | 3 | 83237.2671
CBRH | 2600 | Nema 1 | UL-1008 | 3 | 105316.7702
CBRH | 3000 | Nema 1 | UL-1008 | 3 | 117337.8882
EV Chargers
Package contents available upon request. Please contact account manager for details.
EVCS-MIX-20SBUS | School Bus EVCS Mixed Package (20 bus package) |  |  |  | 475000
HE9819025-01-CSS-LTB | 50kW DC Mobile BAA 10M AC |  |  |  | 25870
HE9821001-01-CSS | 180kW DC Flex Cab BAA |  |  |  | 82826.92
HE9820006-01-CSS | DC Column BAA 3M DC |  |  |  | 15474.36
HE9820006-01-CSA | DC Column BAA 7M DC |  |  |  | 20320.51 | `
EVCS-BL3-04SBUS | School Bus Basic Level 3 EVCS Package - 4 Buses |  |  |  | 112000
EVCS-CL3-04SBUS | School Bus Complex Level 3 EVCS Package - 4 Buses |  |  |  | 170000
EVCS-CL3-08SBUS | School Bus Complex Level 3 EVCS Package - 8 Buses |  |  |  | 270000
Portable Pumps
CP1350D4 | 1350 | Trailerized, tier 4, fully automatic dry priming |  |  | 43068
CP1350D4E | 1350 | Trailerized, tier 4, fully automatic dry priming - Enclosed |  |  | 56340
CP2600D4 | 2600 | Trailerized, tier 4, fully automatic dry priming |  |  | 46564
CP2600D4E | 2600 | Trailerized, tier 4, fully automatic dry priming - Enclosed |  |  | 60557
Cummins Inc - Sourcewell Service & ETO Discount Percentage
Field Service/ Start up |  |  | 10% discount - off typical sale price
Installation support |  |  | 10% discount - off typical sale price
Member specific Training |  |  | 5% discount - off typical sale price
Custom Enclosure and Fuel Tanks |  |  | 10% discount - off typical sale price
Field Technician Labor |  |  | 5% discount - off typical sale price
Maintenance Agreements |  |  | 5% discount - off typical sale price
Engineer to Order products and services (Swicthgear,Networking, Turn Key Solutions) |  |  | 5% discount - off typical sale price